BOROUGH OF TARENTUM

318 Second Avenue

TARENTUM, PENNSYLVANIA 15084

Telephone: 724-224-1818

Fax: 724-224-1821

[www.tarentumboro.com](http://www.tarentumboro.com/)

# To: Tarentum Borough Mayor and Council

**Water Plant Monthly Report: September 2022**

Water usage:  25.6mg, which is 3.4mg less than September 2021

Monthly Projects:        9-7  Backwash Water line leaking.  Repaired a Water Line Repair Kit

                                        9-12 Cleaned the #1 Basin

                                        9-14 TEC fixed/Recalibrated  the Backwash Control Valve

                                        9-14 Cleaned the #2 Basin

                                        9-16 Drained #2 Basin to inspect the automatic drain valve that was malfunctioning

                                        9-22 Cleaned out the #1 & #3 Raw water pumps

                                        9-26 Roof Drain Replaced over filter room

                                        9-27 Toured Iron City Brewery

                                        9-28 Cleaned #3 Basin

                                        9-29 Cleaned #4 Basin