Borough of Tarentum

Monthly Report

RedCat Electric Department

318 E. Second Avenue Tarentum, Pennsylvania 15084

724.224.181

Emergency Outages: 0

Planned Outages: 1
Overtime Hours: 0

| # System Operations - Outages reported and cause (if known) - N/A - Restoration times and response summary - N/A - System inspections completed (poles, transformers, lines) - N/A - Smart meter data/alerts reviewed - Attempt to review alerts daily # Maintenance & Repairs - Preventive maintenance completed - Shipped faulty transformers for repair - Inspected five different addresses for varies reasons. - Replaced cutout on Highland st - Scouted tree trimming at two different addresses - Made permanent double dead-end on W 12th Ave - Transformers or fuses replaced - Transformer replacement W 9th Ave - Bucket truck use or repairs - N/A - Line clearance or tree trimming work - Tree trimming, Davidson St | # Projects & Capital Improvements - New services connected or meters replaced - Meter Change on 1st Ave - Budget or procurement needs - … # Regulatory & Safety - Incident reports or near-misses - None - PPE inventory or equipment needs - … # Other Items - Community complaints addressed - N/A - Coordination with other departments or utilities - See Sewage plant project information - Future planning or concerns - More to follow - Other work or items: - MORE TO FOLLOW |
| --- | --- |