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Monthly Report


 
                             REDCAT ELECTRIC DEPARTMENT
318 E. SECOND AVENUE TARENTUM, PENNSYLVANIA 15084
                724.224.181
Emergency Outages: 0
Planned Outages: 1
Overtime Hours: 0

	System Operations
· Outages reported and cause (if known)
· N/A
· Restoration times and response summary
· N/A
· System inspections completed (poles, transformers, lines)
· N/A
· Smart meter data/alerts reviewed
· Attempt to review alerts daily
Maintenance & Repairs
· Preventive maintenance completed
· Shipped faulty transformers for repair
· Inspected five different addresses for varies reasons.
· Replaced cutout on Highland st
· Scouted tree trimming at two different addresses
· Made permanent double dead-end on W 12th Ave

· Transformers or fuses replaced
· Transformer replacement W 9th Ave
· Bucket truck use or repairs
· N/A
· Line clearance or tree trimming work
· Tree trimming, Davidson St

	Projects & Capital Improvements
· New services connected or meters replaced
· Meter Change on 1st Ave
· Budget or procurement needs
· … 
Regulatory & Safety
· Incident reports or near-misses
· None
· PPE inventory or equipment needs
· …
Other Items
· Community complaints addressed
· N/A
· Coordination with other departments or utilities
· See Sewage plant project information
· Future planning or concerns
· More to follow
· Other work or items:
· MORE TO FOLLOW
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